{"text_format":"3","workbook":"xlsx","n_sheets":9,"sheets":["原材料类","部件分包类","国内品牌配套件","进口品牌配套件","焊接材料","电厂服务改造","外委设计","工序外协类","环保产品"],"read":"whole","date_system":"1900"}

{"sheet":"原材料类","index":0,"n_rows":21,"n_cols":3,"rows_kept":21,"merged":[[0,0,0,2],[2,1,9,1],[13,1,14,1]]}
["原材料类供应商具体供货需求"]
["序号","供货类别","供货范围"]
[1,"钢管","T91/T92小口径无缝钢管（冷轧厚壁管）"]
[2,null,"P91/P92大口径无缝钢管"]
[3,null,"S30432/Super304H/TP310HCbN/HR3C不锈无缝钢管"]
[4,null,"热交换器用焊接U型及直管"]
[5,null,"大口径焊接钢管（具有ASTM A691/ ASTM A672等标准合金焊接钢管型式试验证书）"]
[6,null,"小口径奥氏体不锈钢管内壁喷丸（抗蒸汽氧化）"]
[7,null,"热交换器用不锈无缝钢管（U型）"]
[8,null,"高温合金钢管"]
[9,"扁钢","Gr.91级扁钢"]
[10,"小型模锻件","小型多通"]
[11,"铸件","喷口、喷嘴体类、风帽、风管类、活动夹块等"]
[12,"钢板","锅炉及压力容器用钢板（厚度＞150mm）"]
[13,null,"不锈钢板"]
[14,"棒材","不锈钢棒材"]
[15,"油性漆","醇酸漆、环氧漆、丙烯酸漆、聚氨酯漆、耐热（高温）漆、无机富锌底漆"]
[16,"水性漆","水性醇酸漆、水性耐高温漆"]
[17,"焊接用气体","液氩、液态二氧化碳、瓶装氩气、瓶装二氧化碳、瓶装二氧化碳-氩混合气"]
[18,"火焰切割用气体","液氧、瓶装氧气"]
[19,"热处理保护用气体","液氮、瓶装氮气"]

{"sheet":"部件分包类","index":1,"n_rows":7,"n_cols":3,"rows_kept":7,"merged":[[0,0,0,2]]}
["部件分包类供应商具体供货需求"]
["序号","供货类别","供货范围"]
[1,"钢结构类","/"]
[2,"大机组锅炉受热面类","水冷壁、蛇形管、集箱、大口径管、H型省煤器等"]
[3,"固定、吊挂类","/"]
[4,"栏杆类","/"]
[5,"栅格类","/"]

{"sheet":"国内品牌配套件","index":2,"n_rows":10,"n_cols":2,"rows_kept":10,"merged":[[0,0,0,1]]}
["国内品牌配套件供应商具体供货需求"]
["序号","供货类别"]
[1,"循环泵外配"]
[2,"国产循环泵"]
[3,"给水泵"]
[4,"喷口喷嘴体SiC"]
[5,"电动扳手"]
[6,"变送器"]
[7,"氧化锆分析仪"]
[8,"核电紧固件"]

{"sheet":"进口品牌配套件","index":3,"n_rows":26,"n_cols":2,"rows_kept":26,"merged":[[0,0,0,1]]}
["进口品牌配套件供应商具体供货需求"]
["序号","供货类别"]
[1,"安全阀（包含PCV阀门）"]
[2,"调节阀"]
[3,"截止阀"]
[4,"闸阀"]
[5,"止回阀"]
[6,"闭锁阀"]
[7,"油系统快关阀"]
[8,"摆动及二次风门气动执行器"]
[9,"二次风门"]
[10,"关闭挡板及调温挡板电动执行器"]
[11,"火焰检测器装置"]
[12,"油枪"]
[13,"点火枪及伸缩机构"]
[14,"炉水循环泵"]
[15,"油系统质量流量计"]
[16,"开关"]
[17,"液位计"]
[18,"变送器"]
[19,"辅机安全阀"]
[20,"辅机三通阀"]
[21,"闸阀"]
[22,"辅机截止阀"]
[23,"仪表阀"]
[24,"红外测温装置"]

{"sheet":"焊接材料","index":4,"n_rows":9,"n_cols":3,"rows_kept":9,"merged":[[0,0,0,2],[2,1,6,1]]}
["焊接材料供应商具体供货需求"]
["序号","供货类别","供货范围"]
[1,"焊丝","气保焊用耐热钢实心焊丝（SA-335P91级别、SA-335P92级别）"]
[2,null,"埋弧焊用耐热钢实心焊丝"]
[3,null,"气保焊用镍基实心焊丝"]
[4,null,"低合金钢埋弧焊丝"]
[5,null,"碳钢埋弧焊丝"]
[6,"焊条","耐磨堆焊焊条"]
[7,"焊剂","熔炼焊剂"]

{"sheet":"电厂服务改造","index":5,"n_rows":5,"n_cols":3,"rows_kept":5,"merged":[[0,0,0,2],[3,1,4,1]]}
["电厂服务改造供应商具体供货类别需求"]
["序号","供货类别","供货范围"]
[1,"工程施工类","/"]
[2,"工程设计类","综合设计类"]
[3,null,"电气热控设计及供货"]

{"sheet":"外委设计","index":6,"n_rows":5,"n_cols":3,"rows_kept":5,"merged":[[0,0,0,2]]}
["外委设计供应商具体供货需求"]
["序号","供货类别","供货范围"]
[1,"钢结构","/"]
[2,"刚性梁","/"]
[3,"受压件类","省煤器、收尾管道等"]

{"sheet":"工序外协类","index":7,"n_rows":8,"n_cols":3,"rows_kept":8,"merged":[[0,0,0,2]]}
["工序外协供应商具体供货需求"]
["序号","供货类别","供货范围"]
[1,"大型机加工","大件镗铣加工"]
[2,"弯管类","螺旋弯管及组装"]
[3,"管板打孔类","深孔钻"]
[4,"小型锻件类","包工包料含运输"]
[5,"工装模具类","包工包料含运输"]
[6,"表面处理类","酸洗、喷砂、抛光等"]

{"sheet":"环保产品","index":8,"n_rows":34,"n_cols":3,"rows_kept":34,"merged":[[0,0,0,2],[2,1,8,1],[9,1,11,1],[12,1,15,1],[16,1,33,1]]}
["环保产品供应商具体供货需求"]
["序号","供货类别","供货范围"]
[1,"脱硫","球磨机"]
[2,null,"一体化废水系统"]
[3,null,"喷嘴"]
[4,null,"旋流器"]
[5,null,"除雾器"]
[6,null,"侧进式搅拌器"]
[7,null,"循环泵"]
[8,"脱硝","进口声波吹灰器"]
[9,null,"喷氨栅格及内部组件"]
[10,null,"精准喷氨"]
[11,"水处理","进口螺杆泵"]
[12,null,"进口酸碱输送泵"]
[13,null,"树脂"]
[14,null,"除盐水箱"]
[15,"其他配套件","国产阀门"]
[16,null,"金属膨胀节"]
[17,null,"非金属膨胀节"]
[18,null,"压力变送器"]
[19,null,"磁翻板液位计"]
[20,null,"压力表"]
[21,null,"孔板流量计"]
[22,null,"电磁流量计"]
[23,null,"压力开关"]
[24,null,"水泵"]
[25,null,"烟气分析仪"]
[26,null,"保温材料"]
[27,null,"罗茨"]
[28,null,"离心氧化风机"]
[29,null,"开关柜"]
[30,null,"电气控制"]
[31,null,"热电偶"]
[32,null,"声波吹灰器"]